uniformat ii classifications

December 2025

Uniformat II is a standardized classification framework of building components and systems commonly used for construction and operational planning. The multiple levels scale through four levels, from seven broad Level 1 categories to over 800 categories at Level 4.

The State Board requires that all essential building systems and components in the DirectLine Fixed Asset inventory are assigned a Level 3 Uniformat Code. This facilitates our abilities to conduct system-wide assessments of building systems and to respond to surveys/questions from the Office of Financial Management (OFM) or the Legislature. It also supports the Facility Condition Survey process.

Use this reference for a quick search of individual equipment/item classifications.

- Click arrows at the left of each heading to expand or compress sections.

- Four-digit codes (Level 3, such as A1010) are now necessary for all building system (O&M) inventory items.

  - Italicized classes listed under each Level 3 category are Level 4, not required, but provided for clarity.

## A – BUILDING SUBSTRUCTURE

### A1010 – STANDARD WALL FOUNDATIONS (Optional)

#### General wall foundations

#### Cast in place concrete

#### Precast concrete blocks

#### Perimeter drainage & insulation

### A1020 – SPECIAL FOUNDATIONS – General (Optional)

### A1030 – SLAB ON GRADE (Optional)

#### Standard Slab on Grade

#### Structural Slab on Grade

#### Inclined Slab on Grade

#### Trenches, Pits & Bases

#### Under Slab Drainage & Insulation

### A2010 – BASEMENT EXCAVATION – General (Optional)

### A2020 – BASEMENT WALLS (Optional)

#### Construction

#### Moisture Protection - General

#### Garage Wall

#### Local Repairs

#### Expansion Joint at Driveway

#### Below Paved Areas

#### Below Landscaped Areas

#### Insulation

#### Interior Skin

#### Parking Garage Interior Walls & Columns

## B – BUILDING SHELL

### B1010 – FLOOR CONSTRUCTION (REQUIRED)

#### Suspended Basement Floors Construction

#### Upper Floors Construction

#### Balconies - General

#### Balcony Floors - Wood

#### Balcony Floors - Concrete

#### Balcony Floors - Metal

#### Balconies - Walls

#### Balconies - Railings

#### Ramps - General

#### Ramps - Parking Garage

#### Ramps - Parking Garage - Topping

#### Exterior Stairs - General

#### Exterior Stairs - Concrete

#### Exterior Stairs - Wood

#### Exterior Stairs - Metal

#### Exterior Fire Escapes

#### Metal Access Ladder

#### Floor Raceway Systems

#### Parking Garage Floors Construction - General

#### Parking Garage Floors Rehabilitation - General

#### Intermediate Slab Restoration

#### Waterproofing

#### Crack Repairs

#### Drains

#### Paint

#### Expansion Joint

### B1020 – ROOF CONSTRUCTION (REQUIRED)

#### Flat Roof

#### Pitched Roof

#### Canopies

#### Parking Garage Roof

### B2010 – EXTERIOR WALLS (REQUIRED)

#### Cast in Place Concrete

#### Precast Concrete Wall Panels

#### Concrete Unit Masonry Wall System

#### Clay Brick Masonry Wall System

#### Stone Veneer Masonry Wall System

#### Cementitious Cladding System

#### Exterior Insulated Finish System Panels (EIFS)

#### Metal Clad Exterior Walls

#### Vinyl Clad Exterior Walls

#### Wood Clad Exterior Walls

#### Stucco Finish

#### Masonry - Capping Sills

#### Parapets

#### Exterior Louvers, Screens & Fencing

#### Exterior Sun Control Devices

#### Exterior Soffits - General

#### Soffits - Metal

#### Soffits - Cementitious Boards

#### Soffits - Wood

#### Soffits - Gypsum Board

#### Exterior Sealants/Caulking - Walls/Soffits

#### Special Exterior Walls - General

#### Wood Trim

#### Miscellaneous Painting

### B2020 – EXTERIOR WINDOWS (REQUIRED)

#### Windows - Steel

#### Windows - Aluminum

#### Windows - Wood

#### Windows - Vinyl

#### Curtain Walls

#### Storefronts

#### Exterior Sealants/Caulking - Windows

#### Exterior Sealants/Caulking - Cap Beading

#### Skylights - General

### B2030 – EXTERIOR DOORS (REQUIRED)

#### Doors - Metal

#### Doors - Wood

#### Doors - Storm

#### Glazed Doors & Entrances - General

#### Doors - Sliding

#### Exterior Sealants/Caulking - Doors

#### Doors - Revolving

#### Overhead Doors - General

#### Infrared Detectors

#### Overhead Doors - Wood

#### Overhead Doors - Metal

#### Overhead Doors - Service Access

#### Doors - Hatches & Access

### B3010 – ROOF COVERINGS (REQUIRED)

#### Inverted - Built-Up Asphalt & Felt Membrane

#### Inverted - Hot Applied Rubberized Asphalt

#### Inverted - Modified Bitumen Membrane

#### Inverted - Single Ply Membrane

#### Conventional Built-Up Roofing Assembly

#### Conventional Single-Ply Roofing Assembly

#### PVC Membrane

#### EPDM Roofing Assembly

#### Unit Tile Roofing - General

#### Shingles - Asphalt

#### Shingles - Wood

#### Shingles - Slate

#### Shingles - Metal

#### Roofing Tiles

#### Roofing Panels

#### Copper Roofing

#### Roof Insulation & Fill

#### Flashings & Trim

#### Expansion Joints

#### Eavestroughs, Gutters & Downspouts

#### Exterior Sealants/Caulking - Roofing

### B3020 – ROOF OPENINGS (REQUIRED)

#### General Roof Openings

#### Roof Hatches

#### Gravity Roof Ventilators

#### Vents

#### Roof Safety Anchors

#### Other Roof Penetrations - General

#### Roof Communications Equipment/Structures

#### Roof Signage Structures

#### Roof Drains

## C – INTERIOR CONSTRUCTION

### C1010 – PARTITIONS (Optional)

#### General Wall Partitions

#### Room Divider

#### Privacy Curtain

#### Toilet Partitions

#### Compartments & Cubicles

### C1020 – INTERIOR DOORS (Commonly Used)

#### All interior doors – general classification

### C1021 – INTERIOR DOOR SYSTEMS (Commonly Used)

#### General Interior Personnel Doors

#### Door Hardware - Locks

#### Door Hardware - Passage Sets

#### Door Hardware - Closers

### C1022 – INTERIOR DOOR AND FRAME & HARDWARE (Commonly Used)

#### Interior Sliding & Folding Door

#### Interior Store Fronts/Entrances

#### Interior Fire Doors - General

#### Interior Fire Doors - Services/Common Areas

#### Interior Fire Doors - Suites

#### Interior Overhead Doors/Grilles

#### Interior Counter Shutters & Grilles

#### Interior Hatches & Access Doors

#### Interior Gates & Rails

### C1030 – FITTINGS (Optional)

#### General Fittings

#### Storage Shelving

#### Built-in Counters & Vanities - General

#### Built-In Counters

#### Stainless Steel Counters

#### Washroom Vanities

#### Cabinets & Case Work - General

#### Cabinetry - Common Areas

#### Cabinetry - Suites

#### Other Interior Specialties

#### Cubby Storage

#### Lounge Furniture

#### Lockers

### C1040 – INTERIOR WINDOWS-SEALANTS (Commonly Used)

#### General Interior Windows

#### Interior Windows - Glazing

#### Interior Windows - Sealants

#### Interior Windows - Window Coverings

### C2010 – STAIR CONSTRUCTION (Optional)

#### General Interior Stairs

#### Interior Stairs - Cast in Place Concrete

#### Interior Stairs - Precast Concrete

#### Interior Stairs - Steel

#### Interior Stairs - Wood

#### Interior Stairs - Curved

#### Interior Stairs - Spiral

#### Interior Stair Handrails & Balustrades

### C2020 – STAIR FINISHES (Optional)

#### General Interior Stair Finishes

#### Interior Stair, Tread & Landing Finishes

#### Interior Stair Soffit Finishes

#### Interior Stair Handrail & Balustrade Finishes

### C3010 – INTERIOR WALL FINISHES (Optional)

#### General Interior Wall Finishes

#### Applied Wallboard Finish

#### Concrete Wall Finish

#### Wall Plastering

#### Tile Wall Finish

#### Terrazzo Wall Finish

#### Painting, Sealing & Staining – Walls

#### Wall Coverings - General

#### Wood Paneling

#### Vinyl Wallpaper

#### Wall Paper

#### Exposed Brick

#### Column Coverings

#### Acoustic Wall Treatment

### C3020 – FLOOR FINISHES (Commonly Used)

#### General Floor Finishes

#### Resilient Flooring - General

#### RF - Vinyl Tile

#### RF - Vinyl Sheet

#### RF - Linoleum Tile

#### RF - Linoleum Sheet

#### Carpet - General

#### Carpet - Sheet

#### Carpet - Tile

#### Wood Flooring - General

#### Wood - Standard

#### Wood - Resilient

#### Wood - Parquet

#### Unit Flooring - General

#### Flooring - Ceramic

#### Flooring - Stone

#### Flooring - Masonry

#### Flooring - Porcelain

#### Flooring - Quarry

#### Flooring - Terrazzo

#### Flooring - Mastic Composition

#### Flooring - Raised Pedestal

#### Special Flooring Requirements & Items - General

#### Static/Spark Resistant Flooring

#### Slip Resistant Finish

#### Chemical Resistant Finish

### C3030 – CEILING FINISHES (Commonly Used)

#### General Ceiling Finishes

#### Ceiling - Exposed Concrete Finishes

#### Ceiling - Gypsum Board Finish

#### Ceiling - Suspended Acoustic

#### Ceiling - Acoustic Ceiling Tile System

#### Ceiling - Suspended Metal

#### Ceiling - Wood Panels

#### Ceiling - Gypsum Plaster Finish

#### Painting & Staining - Ceilings

## D – BUILDING SERVICE SYSTEMS

### D1010 – ELEVATORS AND LIFTS (REQUIRED)

#### Elevators - Passenger

#### Elevators - Freight

#### Elevators - Lifts

#### Elevator Components - General

#### Elevator Components - Control Modernization

#### Elevator Components - Door Operator

#### Elevator Components - Door Safety Device

#### Elevator Components - Phone

#### Elevator Components - Emergency Power

#### Elevator Components - Special Emergency Service

#### Elevator Components - Pit Equipment

#### Elevator Components - Hydraulic Control Valve

#### Elevator Components - Cylinder

#### Elevator Components - Machine Room Cooling & Heating

#### Elevator Components - Fire Alarm

#### Elevator Components - Button Stations

#### Elevator - Cab Finishes

#### Elevator - Code Changes

#### Elevator - Barrier Free

#### Elevator - Fixtures

#### Elevator - Pits

### D1020 – ESCALATORS AND MOVING WALKS (Optional)

#### All escalators and moving walks - general

### D1090 – OTHER CONVEYING SYSTEMS (Commonly Used)

#### Dumbwaiters

#### Hoists, Cranes & Stages - General

#### Hoists

#### Cranes

#### Swing Stages

#### Conveyors

#### Chutes

### D2010 – PLUMBING FIXTURES (Commonly Used)

#### General plumbing fixtures

#### Water Closets

#### Urinals

#### Lavatories

#### Sinks

#### Acid Proof Sinks

#### Bathtubs

#### Wash Fountains

#### Showers

#### Drinking Fountains & Coolers

#### Bidets & Other Plumbing Fixtures

#### Eye Wash Stations

### D2020 – DOMESTIC WATER DISTRIBUTION (REQUIRED)

#### General Domestic water distribution

#### Cold Water Service - General

#### Domestic Water Conditioning Equipment

#### Hot Water Service - General

#### Hot Water Tempering Valves

#### Recirculation Piping

#### Domestic Water Supply Equipment

#### Plumbing Pipes

#### Domestic Water Equipment - General

#### Domestic Water Heaters

#### Domestic Water Storage Tanks

#### Domestic Hot Water Boilers

#### Domestic Water Valves

#### Domestic Water Heat Exchanger

### D2030 – SANITARY WASTE (Commonly Used)

#### Sanitary waste - general

#### Waste Piping

#### Vent Piping

#### Floor Drains

#### Sanitary Waste Equipment

#### Pipe Insulation

### D2040 – RAINWATER DISCHARGE (Commonly Used)

#### Rainwater discharge - general

#### Pipe & Fittings

#### Roof Drains

#### Rainwater Drainage Equipment

#### Pipe Insulation

#### Sump Pumps

### D2090 – OTHER PLUMBING SYSTEMS (Commonly Used)

#### Other plumbing systems - general

#### Acid Waste Systems

#### Interceptors

#### Pool Piping & Equipment

#### Decorative Fountain Piping Devices

### D3010 – HVAC ENERGY SUPPLY (REQUIRED)

#### Energy supply - general

#### Oil Supply System

#### Gas Supply System

#### Coal Supply System

#### Steam Supply System

#### Hot Water Supply System

#### Solar Energy System

#### Wind Energy System

#### Diesel Supply System

### D3020 – HVAC HEAT GENERATING SYSTEMS (REQUIRED)

#### Heat generating systems (HVAC) - general

#### Steam Boilers

#### Hot Water Boilers - General

#### Hot Water Modulating Boilers

#### Reheating Boilers

#### Furnaces - General

#### Furnaces - Gas Warm Air

#### Furnaces - Oil Warm Air

#### Furnaces - Electric Warm Air

#### Boiler Room Piping & Specialties

#### Primary Pumps (HVAC Hydronic Systems)

#### Heating & Cooling Circulation Pumps

#### Auxiliary Equipment, Equipment & Pipe Insulation - General

#### Auxiliary Equipment

#### Equipment & Piping Insulation

### D3030 – HVAC COOLING GENERATING SYSTEMS (REQUIRED)

#### Cooling generating systems - general

#### Chillers

#### Chillers Conversion

#### Cooling Towers & Evaporative Coolers

#### Refrigeration Equipment - General

#### Refrigeration - Condensers

#### Refrigeration - Compressors

#### Packaged Air Conditioning (PAC) Units - General

#### PAC - Rooftop

#### PAC - Computer Room

#### PAC - Unit AC

#### Piping & Fittings for cooling units

#### Equipment & Piping Insulation for cooling units

### D3040 – HVAC DISTRIBUTION SYSTEMS (REQUIRED)

#### Distribution systems - general

#### Air Distribution Systems - General

#### Ducts, Grilles & Dampers

#### Make-Up Air Units

#### Air Distribution Fans

#### Pressurization Fans

#### Steam Heat Distribution Systems

#### Hydronic Distribution Systems - General

#### Hydronic Hot Water Distribution Systems

#### Hydronic Chilled Water Distribution Systems

#### Hydronic Hot Water & Chilled Water Distribution Systems

#### Glycol Heating Distribution Systems

#### Exhaust Ventilation Distribution Systems - General

#### Exhaust Ventilation - Building

#### Exhaust Ventilation - Garage

#### Exhaust Fans

#### Ceiling Fans

#### Auxiliary Equipment for Distribution Systems

#### Auxiliary Equipment - Water Pump System

#### Mechanical Insulation for Distribution Systems

### D3050 – HVAC TERMINAL & PACKAGE UNITS (REQUIRED)

#### Terminal and package units - general

#### Terminal Units for Heating & Cooling (TU) - General

#### TU - Gas-Fired Heaters

#### TU - Electric Heater Baseboards

#### TU - Electric Heaters Force Flow

#### Terminal Ventilator Units (TVU) - General

#### TVU - Fossil Fuel Fired Heaters

#### TVU - Electrical Heater Baseboards

#### TVU - Gas-Fired Heaters

#### Unit Heaters (UH) - General

#### UH- Fossil Fuel Fired Terminal Heaters

#### UH- Electric Terminal Heaters

#### UH - Gas-Fired Terminal Heaters

#### Fan Coil Terminal Units - General

#### Fan Coil Units - Condensing Pans

#### Fan Coil Units - Motors

#### Fin Tube Terminal Units

#### Unit Air Conditioner- window/through wall, w/wo heating

#### Radiant Heater Units (RHU)

#### RHU - Gas-Fired

#### RHU - Electrical

#### Package Units (PU) - General

#### PU - Terminal Heat Pumps

#### PU - Electric Air Handling Units

#### PU - Electric Furnaces

#### Other Terminal & Package Units - General

#### Split System Air Conditioning

### D3060 – HVAC CONTROLS & INSTRUMENTATION (REQUIRED)

#### Controls, instrumentation, monitoring - general

#### Heat Systems Controls

#### Cooling Systems Controls

#### Heating/Cooling Air Handling Control Systems

#### Exhaust & Ventilating Control Systems

#### Terminal Unit Control Systems

#### Energy Control, Monitoring & Management Systems

#### Building Automation Systems

#### Recording Instrumentation

### D3070 – HVAC SYSTEMS TESTING & BALANCING (REQUIRED)

#### General testing & balancing records, manuals, tools, other

### D3090 – OTHER HVAC SYSTEMS & EQUIPMENT (REQUIRED)

#### Other HVAC systems & equipment - general

#### Special Cooling Systems & Devices

#### Special Humidity Control

#### Dust Collectors

#### Fume Hoods & Collectors

#### Air Curtains

#### Air Purifiers

#### Industrial Process Ventilation (IVP) Systems - General

#### IVP Systems- Paint Spray Booth Ventilation Systems

#### Sensor Systems - General

#### Carbon Monoxide Sensor Systems

#### Gas Sensor System

#### Carbon Dioxide Sensor System

### D4010 – FIRE PROTECTION SPRINKLERS (Commonly Used)

#### Sprinklers - general

#### Sprinkler - Water Supply

#### Sprinkler - Wet Pipe System

#### Sprinkler - Dry Pipe System

### D4020 – FIRE PROTECTION STANDPIPES (Commonly Used)

#### Standpipes - general

#### Standpipe & Hose - Water Supply

#### Standpipe Equipment

#### Fire Hose Equipment

#### Pumping Equipment

#### Fire Pump

#### Jockey Pump

#### Standpipe / Valve / Water Supply

### D4030 – FIRE PROTECTION SPECIALTIES (Commonly Used)

#### Fire protection specialties - general

#### Fire Extinguishers

#### Fire Hose Cabinets (FHC)

#### Fire Safety Plan

#### Fire Containment & Egress

### D4090 – OTHER FIRE PROTECTION (Commonly Used)

#### Other fire protection - general

#### Foam Generating Equipment

#### Clean Extinguishing Agent Systems

#### Dry Chemical System

#### Exhaust Hood & Duct Fire Protection

### D5010 – ELECTRICAL SERVICE & DISTRIBUTION (REQUIRED)

#### Electrical service & distribution - general

#### High Tension Services & Distribution

#### Low Tension Services & Distribution - General

#### Distribution Panels & Breakers

#### Transformers

### D5020 – LIGHTING & BRANCH WIRING (REQUIRED)

#### Lighting and branch wiring - general

#### Lighting & BW - Building Interior - General

#### Lighting & BW - Common Area

#### Lighting & BW - Suite Fixtures

#### Lighting & BW - Parking Garage - Interior

#### Lighting & BW - Exit Lighting

#### Lighting & BW - Building Exterior - General

#### Lighting & BW - On Building

#### Lighting & BW - Parking Area

#### Lighting & BW - Walkways

#### Lighting & BW - Parking Garage - Exterior

### D5030 – COMMUNICATION & SECURITY (Commonly Used)

#### Communications and security - general

#### Public Address & Music Systems

#### Intercommunication & Paging System

#### Telephone Systems

#### Call Systems

#### Television Systems

#### Clock & Program Systems

#### Fire Detection & Alarm Systems - General

#### Fire Alarm Panel

#### Smoke Detectors

#### Emergency Bells, Horns, Pulls

#### Security & Detection Systems - General

#### Closed Circuit TV System

#### Card Access System

#### Card Access Points

#### Keypad Entry

#### Door Chimes

### D5090 – OTHER ELECTRICAL SYSTEMS (REQUIRED)

#### Other electrical systems - general

#### Emergency Light Systems

#### Emergency Power Systems - General

#### Emergency - Generator Assemblies

#### Emergency - Battery Equipment

#### Local Area Networks

#### Ground-Fault Systems

#### Emergency Uninterruptible Power System (UPS)

#### Underfloor Raceways

#### Lightning Protection Systems

#### Power Factor Correction

## E – EQUIPMENT & FURNISHINGS

### E1010 – COMMERCIAL (OR PROGRAM) EQUIPMENT (Commonly Used)

#### Commercial equipment - general

#### Commercial Appliances - General

#### Commercial - Refrigerators

#### Commercial - Stoves

#### Commercial - Freezers

#### Commercial - Dishwasher

#### Commercial - Oven

#### Commercial - Walk-in Cooler

### E1020 – INSTITUTIONAL EQUIPMENT (REQUIRED)

#### Institutional Appliances - General

#### Institutional - Refrigerators

#### Institutional - Stoves

#### Institutional - Freezers

#### Institutional - Dishwasher

#### Institutional - Oven

#### Institutional - Walk-in Cooler

#### Institutional - Washer

#### Institutional - Dryer

#### Institutional Furnishings - General

#### Institutional - Hoists/Lifts

#### Institutional - Bathtubs

#### Institutional - Beds

#### Institutional - Wheelchairs

### E1030 – VEHICULAR EQUIPMENT (Commonly Used)

#### Vehicular equipment - general

#### Parking Control Equipment

#### Loading Dock Equipment

#### Garage Hoists

### E1090 – OTHER EQUIPMENT (Commonly Used)

#### Other equipment - general

#### Maintenance Equipment

#### Solid Waste Handling Equipment/Structures - General

#### Garbage Compactors

#### Outside Garbage Enclosures

#### Food Service Equipment

#### Residential Equipment - General

#### Residential - Refrigerators

#### Residential - Stoves

#### Residential - Dishwasher

#### Residential - Freezers

#### Residential - Unit Kitchens

#### Window Washing Equipment

#### Athletic, Recreational & Therapeutic Equipment

#### Washers & Dryers - General

#### Washers

#### Dryers

#### Other Specialized Equipment - General

#### Wheelchair Accessible Appliances

### E2010 – FIXED FURNISHINGS (Optional)

#### General fixed furnishings

### E2020 – MOVABLE FURNISHINGS (Optional)

#### Movable furnishings - general

#### Plants

#### Lobby Furnishings

#### Public Works - Specialized Equipment - General

#### Salt Brine Production System

#### Salt Brine Production Pump

#### Oil & Silt Interceptor Tank System

#### Fuel Management System

## F – SPECIAL CONSTRUCTION

### F1010 – SPECIAL STRUCTURES (Optional)

#### Special structures - general

#### Air Supported Structure

#### Pre-Engineered Structures - General

#### Salt Dome Fabric Coverings

#### Salt Dome Structures

#### Recycling Tent Fabric Coverings

#### Recycling Tent Structures

### F1020 – INTEGRATED CONSTRUCTION (Optional)

#### Integrated construction - general

#### Special Purpose Rooms

### F1030 – SPECIAL CONSTRUCTION SYSTEMS (Optional)

#### Special construction systems - general

#### Sound, Vibration & Seismic Construction

#### Radiation Protection

#### Special Security Systems

#### Vaults

### F1040 – SPECIAL FACILITIES (Commonly Used)

#### Special facilities - general

#### Ice Rinks

#### Site Constructed Incinerators

#### Underground Storage Tanks - General

#### Underground Gas Storage Tank

#### Underground Diesel Storage Tank

#### Aboveground Storage Tanks - General

#### Aboveground Gas Storage Tank

#### Aboveground Diesel Storage Tank

### F1050 – SPECIAL CONTROLS & INSTRUMENTATION (Optional)

#### General controls/instrumentation that don’t fit elsewhere

### F2010 – BUILDING ELEMENTS DEMOLITION (Optional)

### F2020 – HAZARDOUS COMPONENTS ABATEMENT (Optional)

#### Hazardous component abatement - general

#### Removal of Hazardous Building Components

#### Encapsulation of Hazardous Building Components

#### Dilution of Hazardous Materials & Components

#### Hazardous Building Materials Surveys (HBS) - General

#### HBS - Asbestos Containing Materials

#### HBS - Ozone Depleting Substances

#### HBS - PCBs

#### HBS - Lead Containing Materials

#### HBS - Mercury Containing Materials

#### HBS - Acronitrile / Ethylene Oxide / Off Gassing Substances

#### HBS - CFCs

#### HBS - Mould

#### HBS - Guano

#### Hazardous Building Materials Mgmt Plans (HBM) - General

#### HBM - Asbestos Containing Materials

#### HBM - Ozone Depleting Substances

#### HBM - PCBs

#### HBM - Lead Containing Materials

#### HBM - Mercury Containing Materials

#### HBM - Acronitrile / Ethylene Oxide / Off Gassing Substances

#### HBM - CFCs

#### HBM - Mould

#### HBM - Guano

#### Hazardous Materials Containment (HMC) - General

#### HMC - PCBs

#### HMC - Secondary Liquid Containment

#### WHMIS - General

#### Spill Kits

## G – SITEWORK/DEVELOPMENT

### G1010 – SITE CLEANING (Optional)

#### Site cleaning - general

### G1020 – SITE DEMOLITION & RELOCATIONS (Optional)

#### Site demolition and relocations - general

### G1030 – SITE EARTHWORK (Optional)

#### Site earthwork - general

### G1040 – HAZARDOUS WASTE REMEDIATION (Optional)

#### Hazardous waste remediation - general

#### Environmental Site Assessment - General

#### ESA - Phase 1

#### ESA - Phase 2

#### Removal of Contaminated Soil

#### Soil Restoration & Treatment

#### Removal of Other Hazardous Materials, Liquids & Structures - General

#### Removal of Other Hazardous Materials & Liquids

#### Removal of Container/Structure of G1040

### G2010 – ROADWAYS (Commonly Used)

#### Roadways - general

#### Roadways - Bases & Sub-Bases

#### Roadways - Paving & Surfacing

#### Roadways - Curbs, Gutters & Drains

#### Roadways - Guardrails & Barriers

#### Roadways - Painted Lines

#### Roadways - Markings & Signage

#### Roadways - Vehicular Bridges

### G2020 – PARKING LOTS (Commonly Used)

#### Parking lots - general

#### Parking Lots - Bases & Sub-Bases

#### Parking Lots - Paving & Surfacing

#### Parking Lots - Curbs, Gutters & Drains

#### Parking Lots - Parking Booths & Equipment

#### Parking Lots - Markings & Signage

#### Parking Lots - Guardrails & Barriers

#### Parking Lots - Painted Lines

#### Parking Lots - Concrete Ramps

### G2030 – PEDESTRIAL PAVING (Commonly Used)

#### Pedestrian paving - general

#### Pedestrian Paving - Paving & Surfacing

#### Pedestrian Paving - Edging

#### Pedestrian Paving - Exterior Steps

#### Pedestrian Paving - Pedestrian Bridges

#### Pedestrian Paving - Curbs, Gutters & Drains

#### Pedestrian Paving - Guardrails & Barriers

#### Pedestrian Paving - Exterior Ramps

#### Pedestrian Paving - Concrete Pavers

### G2040 – SITE DEVELOPMENT (Commonly Used)

#### Site development - general

#### Fences & Gates - General

#### Fencing - Chain Link

#### Fencing - Wood

#### Fencing - Ornamental

#### Fencing - Masonry

#### Fencing - Sound Barrier

#### Fencing - Aluminum

#### Fencing - Galvanized Metal

#### Retaining Walls - General

#### Retaining Walls - Unit Stone

#### Retaining Walls - PT Wood

#### Retaining Walls - Concrete

#### Terrace & Perimeter Walls

#### Signage

#### Flagpoles

#### Site Recreational Fixtures/Structures - General

#### Site Furnishings

#### Deck/Gazebo

#### Fountains & Watercourses

#### Indoor Swimming Pool

#### Outdoor Swimming Pool

#### Sauna Rooms

#### Jacuzzi/Whirlpool

#### Playing Fields

#### Tennis Courts

#### Squash / Racquet Ball Courts

#### Exercise Room

#### Locker Rooms

#### Change Rooms

#### Showers

#### Washrooms

#### Playground Equipment - General

#### Playground Surfaces

#### Climbing Structure

#### Swings

#### Slides

#### Rocking Equipment

#### Sandboxes

#### Spring Toys

### G2050 – LANDSCAPING (Commonly Used)

#### Landscaping - general

#### Fine Grading & Soil Protection

#### Erosion Control Measures

#### Top Soil & Planting Beds

#### Seeding & Sodding

#### Planting - General

#### Planting - Trees

#### Planting - Shrubs

#### Planting - Planters

#### Irrigation Systems

#### Drainage Systems - General

#### Weeping Beds

### G3010 – WATER SUPPLY (Commonly Used)

#### Water supply - general

#### Potable & Non-Potable Water Systems - General

#### Potable Water Distribution & Storage

#### Non-Potable Water Distribution & Storage

#### Water Well Systems

#### Fire Protection Systems - Piping & Fixtures

#### Pumping Stations

#### Water Storage (Tanks, Ponds, Reservoirs, Lagoons …)

#### Package Water Treatment Plants

#### Environmental

### G3020 – SANITARY SEWER (Commonly Used)

#### Sanitary sewer - general

#### Sanitary Sewer - Piping

#### Sanitary Sewer - Manholes & Cleanouts

#### Septic Disposal System - General

#### Sanitary Sewer - Septic Tanks/Grease Interceptors

#### Sanitary Sewer - Drain Fields

#### Sanitary Sewer - Lift Stations

#### Sanitary Sewer - Packaged Water Waste Treatment Plants

#### Sewage Waste Water - Environmental

### G3030 – STORM SEWER (Commonly Used)

#### Storm sewer - general

#### Storm Sewer - Piping

#### Storm Sewer - Manholes & Cleanouts

#### Storm Sewer - Headwalls & Catch Basins

#### Storm Sewer - Lift Stations

#### Storm Sewer - Retention Ponds

#### Storm Sewer - Ditches & Culverts

#### Storm Sewer - Sub-Drainage Systems

#### Storm Sewer - Environmental

#### Storm Water - Management Facilities

### G3040 – HEATING DISTRIBUTION OUTSIDE BUILDING (REQUIRED)

#### Heating distribution - outside building (HDOB) - general

#### HDOB - Steam Supply

#### HDOB - Condensate Return

#### HDOB - Hot Water Supply Systems

#### HDOB - Pumping Stations

### G3050 – COOLING DISTRIBUTION OUTSIDE BUILDING (REQUIRED)

#### Cooling distribution - outside building (CDOB) - general

#### CDOB - Chilled Water Piping

#### CDOB - Wells for Cooling

#### CDOB - Pumping Stations

#### CDOB - Cooling Towers on Site

### G3060 – FUEL DISTRIBUTION (Commonly Used)

#### Fuel distribution - general

#### Fuel Piping

#### Fuel Equipment

#### Fuel Storage Tanks

#### Fuel Dispensing Stations

### G3090 – OTHER MECHANICAL UTILITIES (Commonly Used)

#### Other site mechanical utilities - general

#### Certificate of Approval

#### Industrial Waste Systems - General

#### Solid Waste

#### Liquid Waste

#### POL (Petroleum Oil & Lubricants) Distribution Systems

### G4010 – ELECTRICAL DISTRIBUTION (REQUIRED)

#### Electrical distribution - general

#### Substations - General

#### Substations Equipment

#### Transformers

#### Overhead Power Distribution

#### Underground Power Distribution

### G4020 – SITE LIGHTINGS (REQUIRED)

#### Site lightings - general

#### Fixtures & Transformers

#### Poles & Standards

#### Underground Wiring Conduits & Duct banks

#### Site Lighting Controls

#### Security Lighting Systems

#### Light Bollards

### G4030 – SITE COMMUNICATIONS & SECURITY (Commonly Used)

#### Site communications & security - general

#### Site Telephone Systems

#### Site Public Address Systems

#### Site Detection & Alarm Systems

#### Site Video Surveillance Systems

#### Site Security Access Systems

### G4090 – OTHER SITE ELECTRICAL UTILITIES (REQUIRED)

#### Other site electrical utilities - general

#### Cathodic Protection - General

#### Cathodic Protection - Parking Garage Slabs

#### Cathodic Protection - Balcony Slabs

#### Cathodic Protection - Storage Tanks

#### Site Emergency Power Generation

#### Pipe Heat Tracing Cable Systems

### G9010 – SERVICE & PEDESTRIAN TUNNELS (Commonly Used)

#### Service & pedestrian tunnels - general

#### Service Tunnels

#### Trench Boxes

#### Pedestrian Tunnels

### G9090 – OTHER SITE SYSTEMS (Optional)

#### Other site systems - general

#### Mailboxes

#### Barrier Gates

#### Parking Bollards

#### Snow Melting Systems - General

#### Snow Melting Systems - Hot Water

#### Snow Melting Systems - Hot Glycol

#### Snow Melting Systems - Electrical